## How to use this tool
Why it's important to have a water risk assessment review
UK legislation places a duty on building owners and those in charge of premises to manage the risks to health and safety associated with water systems. Risk assessments should identify potential hazards, such as pathogenic organisms e.g. Legionella pneumophila and Pseudomonas aeruginosa, scalding, chemical contamination and disruption to the water supply. The two year frequency for risk assessments was removed from the HSE’s ACOP L8 [2013], and HSG274 Part 2 [2014], and they now state that risk assessments should be reviewed regularly and whenever there is a change of circumstances that could affect the risk. One reason is the acknowledgment that some water systems are inherently very low risk and do not require elaborate controls. However, there is no reason to believe that things should be significantly different for water systems representing a medium to high risk. Risk assessment can mean differing levels of intervention from a desktop review to a full risk assessment of the installation, HTM 04-01 Part B, details the remit for a Water Safety Group and one of these tasks is responsibility for reviewing risk assessments. It can be helpful to the Water Safety Group to maintain a schedule of the various water systems under their control and when they were last assessed. Cross-referencing against the review criteria defined in HSG274 Part 2 [2014]. This review tool aims at giving you a system for doing just that, and it can be easily updated and reviewed at each Water Safety Group meeting, as required by the terms of reference for the Water Safety Group.
How to use this review tool for your organisation
This risk assessment and schematic review tool is a desk-based review of your current reports against the criteria detailed in HSG274 part 2 [2014]. It is not a replacement risk assessment report or schematic, it simply allows you to identify when a new risk assessment report or schematic is required, as such there is no inspection of buildings or risk systems. There are two sheets within this Excel based Review Tool, 1. for Risk Assessment Review status and 2. for Schematic Review status. Risk Assessment Review Status Each column will require some form of data entry: B. The site reference for each site you own C. The building reference on each site D. List the risk system types identified in your current risk assessment report E. Date of last risk assessments for each risk system type listed F. Enter the category of susceptibility noted in the risk assessment for each risk system type listed Once you have entered your risk system information, you can now check each entry against the change criteria, you will need to reference your current Risk Assessment, risk minimisations scheme, monitoring data / log book. When one or more change criteria has been identified, insert a brief note in the comments field with a reason why this has changed. The review tool will automatically identify if a new risk assessment report is required. Schematic Review Status Each column will require some form of data entry: B. Represent the floor/level of a building D. Drawing / File name of each building schematic D. Date when building schematic was generated or last updated F-M. Types of systems at each building - tick against those systems found on each level, as identified by the drawing F-M. Review criteria - when one or more of the review criteria boxes are ticked, insert a brief note in the comments field if applicable. The review tool will automatically identify if a new schematic is required. Once you have entered your schematic drawing information, you can now check each entry against the change criteria, you will need to reference your schematics, Risk Assessment, risk minimisations scheme, monitoring data / log book.
Do you need help or advice in completing this water risk assessment review tool?
We are happy to offer you advice and assistance or alternatively we can even complete this for you. Please contact us on the number or email address below:
(+44) (0) 1993 840400 |  | info@waterhygienecentre.co.uk
Copyright ©2018 Water Hygiene Centre Ltd
NB:
1 – Please ensure at the time you complete this review tool, you confirm HSG274 Part 2 [2014] is still the current guidance. This review tool was created March 2018.
2 – We have created a certain number of entries, if you need extra lines please create an additional copy of this spreadsheet.
3 – This tool is not designed to be printed.
Click here for a free consultation

## Risk Assessment Review Status
| Risk System |  |  |  |  | Change Criteria | [16 empty] | New RA required?
| Site Ref. | Building Ref [No./name] | Risk System Type / Ref | Date of last RA | Suscepability | 1. Changes to water system or its use |  |  | 2. Change to use of building |  | 3. New information available about risk/control measures |  |  | 4. The results of checks indicating control measures are no longer effective |  | 5. Changes to key personnel |  | 6. A case of Legionnaires disease/Legionellosis associated with system |  |  | 7. High Susceptibility & >2yrs.
EXAMPLE | 1 | Building A | A blk DHW - 2xcals | 2016-10-01 | Medium |  | TRUE | Comment |  | FALSE |  | TRUE | Comment |  | FALSE |  | FALSE |  | FALSE |  |  | FALSE | YES
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE |  |  | FALSE
[10 empty] | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  |  |  |  | FALSE
[10 empty] | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  |  |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  |  |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[10 empty] | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[10 empty] | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[10 empty] | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  |  |  |  | FALSE
[10 empty] | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[10 empty] | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE | [6 empty] | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  |  |  | FALSE
[7 empty] | FALSE |  |  | FALSE |  | FALSE |  |  | FALSE |  | FALSE |  | FALSE |  |  | FALSE
Need advice or help to complete this? Get in touch with us!
| (+44) (0) 1993 840400 |  | info@waterhygienecentre.co.uk | [16 empty] | Copyright ©2017 Water Hygiene Centre Ltd
]

## Schematic Review Status
INSERT NAME OF THE BUILDING
| Floor | Schematic Drawing Status | [6 empty] | New Schematic Drawing Required?
EXAMPLE | 0 | Drawing / File Name: | Example | Types of systems: |  |  |  |  | YES
|  | Date generated / updated: | 04/04/2016 | Review criteria: | FALSE |  | TRUE | FALSE
|  | Comments on criteria: | Comment
| 0 | Drawing / File Name: |  | Types of systems:
|  | Date generated / updated: |  | Review criteria: | FALSE |  | FALSE | FALSE
Comments on criteria:
| 1 | Drawing / File Name: |  | Types of systems:
|  | Date generated / updated: |  | Review criteria: | FALSE |  | FALSE | FALSE
Comments on criteria:
| 2 | Drawing / File Name: |  | Types of systems:
|  | Date generated / updated: |  | Review criteria: | FALSE |  |  | FALSE
Comments on criteria:
| 3 | Drawing / File Name: |  | Types of systems:
|  | Date generated / updated: |  | Review criteria: | FALSE |  |  | FALSE
Comments on criteria:
| 4 | Drawing / File Name: |  | Types of systems:
|  | Date generated / updated: |  | Review criteria: | FALSE
Comments on criteria:
| 5 | Drawing / File Name: |  | Types of systems:
|  | Date generated / updated: |  | Review criteria:
Comments on criteria:
| 6 | Drawing / File Name: |  | Types of systems:
|  | Date generated / updated: |  | Review criteria: | FALSE
Comments on criteria:
| 7 | Drawing / File Name: |  | Types of systems:
|  | Date generated / updated: |  | Review criteria: | FALSE |  | FALSE | FALSE
Comments on criteria:
| 8 | Drawing / File Name: |  | Types of systems:
|  | Date generated / updated: |  | Review criteria: | FALSE |  | FALSE | FALSE
Comments on criteria:
| 9 | Drawing / File Name: |  | Types of systems:
|  | Date generated / updated: |  | Review criteria: | FALSE |  | FALSE | FALSE
Comments on criteria:
| 10 | Drawing / File Name: |  | Types of systems:
|  | Date generated / updated: |  | Review criteria: | FALSE |  |  | FALSE
Comments on criteria:
Need advice or help to complete this? Get in touch with us!
| (+44) (0) 1993 840400 |  | info@waterhygienecentre.co.uk |  |  | Copyright ©2017 Water Hygiene Centre Ltd
Key
MCW – Mains cold water
BCWS – Boosted Cold Water System
TCW - Tank Cold Water
POUH – Point of use heater
No drawing / missing
Incomplete/ parts missing
Out of date
MCW
DHW
TCW
BCWS
POUH
Other
No drawing / missing
Incomplete/ parts missing
Out of date
MCW
DHW
TCW
BCWS
POUH
Other
No drawing / missing
Incomplete/ parts missing
Out of date
MCW
DHW
TCW
BCWS
POUH
Other
No drawing / missing
Incomplete/ parts missing
Out of date
MCW
DHW
TCW
BCWS
POUH
Other
No drawing / missing
Incomplete/ parts missing
Out of date
MCW
DHW
TCW
BCWS
POUH
Other
No drawing / missing
Incomplete/ parts missing
Out of date
MCW
DHW
TCW
BCWS
POUH
Other
No drawing / missing
Incomplete/ parts missing
Out of date
MCW
DHW
TCW
BCWS
POUH
Other
No drawing / missing
Incomplete/ parts missing
Out of date
MCW
DHW
TCW
BCWS
POUH
Other
No drawing / missing
Incomplete/ parts missing
Out of date
DHW
TCW
BCWS
POUH
Other
MCW
DHW
TCW
BCWS
POUH
Other
No drawing / missing
Incomplete/ parts missing
Out of date
MCW
DHW
TCW
BCWS
POUH
Other
No drawing / missing
Incomplete/ parts missing
Out of date
MCW
DHW
TCW
BCWS
POUH
Other
No drawing / missing
Incomplete/ parts missing
Out of date
MCW